Physical chemistry
Project
Made by-:
Name: Prakriti wadehra
Roll No.: OO-118
B.Sc Chemistry (H)
        II nd year

---
Aim
Aim
To determine the dissociation constant of a base.

---
Apparatus
Apparatus
- conductivity meter
- conductivity cell
- 100mL beaker
- 100mL measuring flasks
- burette
- pipette, funnel
- conical flasks

---
Chemicals required
Chemicals required
- 1N NaOH
- 1N Oxalic acid
- 1N HCl
- 10% NH4OH
- Phenolpthalein
- Methyl orange

---
Theory
Theory
   Resistance (R):
   It is the opposition to the flow of current. It is denoted by R and is measured in ohm(Ω).
   Conductance (C):
    It is the reciprocal of the electrical resistance i.e.,
   C = 1/R. It measures the ease with which the current flows through a conductor and is expressed in reciprocal ohm(ohm-1) or mho(Ω-1). The unit of electrical conductance is called the Siemen, S (=Ω-1).

---
Specific Resistance or Resistivity(ρ):
        R α L / A
        or R = ρ L / A
Where, ρ is the proportionality constant called specific
resistance,
        L = Length
      and A = Area of cross-section of the conductor.
The resistivity or specific resistance is defined as the resistance in ohm of a
conductor having length equal to 1 cm and area of cross-section equal to 1 cm2 .
Its unit is ohm cm.

---
Specific conductance or Conductivity(κ):
It is the reciprocal of specific resistance
       i.e., κ = 1 / ρ
        R = ρ L / A,
        1/C = 1/κ l/A
       Or κ = C L / A
When L = 1 cm and A = 1 cm2 ; κ = C
Thus conductivity is the conductance of one centimeter
cube or conductance of one cm cube of the solution of
an electrolyte.

---
Equivalent conductivity (Λeq):
The conducting powers of all the ions produced by dissolving one gram
equivalent of an electrolyte in solution placed between two large electrodes
one centimeter apart.
Mathematically, Λeq = κ × V
= κ × 1000 / Ceq
        = κ × 1000 / normality
Where, V is volume of the solution in cm3
        Containing one gram equivalent of
        The electrolyte,
        Κ is the conductivity
        Ceq is the concentration of the solution in
        Gram equivalents per litre ( i.e., normality of
        The solution ).

---
Molar conductivity (Λm):
The conducting power of all the ions produced by dissolving 1 gram – mole of
an electrolyte placed between two large electrodes at one centimeter apart.
Mathematically, Λm = κ × V
        = κ × 1000 / Cm
        = κ × 1000 / Molarity
Where, V is the volume of solution in cm3 containing one
        Mole of the electrolyte.
        Cm is the molar concentration ( mol L-1 ) or molarity
Units of molar conductivity = ohm-1 cm2 mol-1.
The molar as well as equivalent conductance of the electrolytes is known to depend upon :
( I ) Nature of electrolyte i.e., strong or weak,
( II ) Temperature and
( III ) Concentration of electrolyte in solution.

---
Variation of molar conductivity with concentration:
Variation of molar conductivity with concentration:
For a strong electrolyte the variation is given by Huckel Onsagar equation, Λm = Λ0m – b √c,
Where, b is a constant depending on the nature of the
        Solvent and temperature
        Λ0m is the molar conductance at infinite dilution.
At infinite dilution the concentration , C, tends to be zero.
At this dilution Λm = Λ0m as C approaches to 0.
( I ) Molar conductivity of a strong electrolyte increases to
       To a small extent with dilution due to decrease in Inter
ionic interactions with dilution.
( II ) Molar conductivity of a weak electrolyte is found to
Increase with dilution as dissociation increases with Dilution. The magnitude of increase of molar dilution to that at infinite dilution is called Conductivity ratio.
α = Λceq / Λ0eq

---
Effect of dilution:
Effect of dilution:
   When electrolytic solution is diluted, the equivalent as well as molar conductivity of both weak/strong electrolytes increases. However, it must be noted that specifie conductivity decreases on dilution. It is because due to increase in dissociation, the number of current carrying particle per cm3 decrease. At infinite dilution, a limiting value of conductivity ( Λ0 ) is obtained. The ( Λ0 ) value for any strong electrolyte is calculated by graphical method but for a weak electrolyte it is determined by Kohlraush’s law.

---
Measurement of conductivity:
Measurement of conductivity:
   The conductivity of the solution is measured in a cell known as conductivity cell. Since in such cells the electrodes may not be exactly 1 cm apart or may not have an area of 1 sq. cm therefore, we calculate a factor called cell constant ( L / A ) for these cells.
  Also, conductivity = cell constant x observed conductance.

---
Strength of Bases:
Strength of Bases:
The strength of bases is usually expressed in terms of dissociation constant of bases (Kb ).
For a weak monobasic acid BOH,
        BOH ↔ B+ + OH-
        Kb = [B+] [OH-] / [BOH]
If the concentration of base BOH = C moles/litre and also since [B+] = [OH-] therefore,
for monobasic bases
        Kb = [OH-]2 / C
The degree of ionisation [α] of base is related to its dissociation constant is:
        Kb = Cα2 / 1-α
For weak base α is very small so that 1-α ≈ 1.
Thus, for weak base ; α = √(Kb / C)
Where, C is the concentration in mol L-1 of base.
It should be noted that the Kb values measure the relative strength of bases. Greater is the value of
Kb , greater will be the the base.
The term pKb ( pKb = - log Kb) is commonly used to express the dissociation of a base. Thus, the
higher the value of pKb, the weaker is a base and viceversa.

---
Conductometric titrations:
Conductometric titrations:
   The process of quantitative determination of amount of a substance by measuring the amount of a suitable reagent required to bring about a definite reaction to just completion is called a titration. The determination of end point of a titration by means of conductance measurements is known as Condutometric titation.
    The titrant is taken nearly ten times as strong as the solution to be titrated, to minimize the dilution effect. One of the most out-standing feature of these titrations is that even the titration of a highly coloured solution can be carried out conductometrically.

---
Cell constant:
Cell constant:
   In a conductivity cell the distance between the two electrodes and area of the electrodes are fixed. So, L/A
   Is a constant for a particular cell. This constant is called the cell constant and is designated by K.
        L/A = K = κ R
   The cell constant has the units of cm-1 . However, it would be m-1 in the SI system of units.

---
Concentration dependence of the conductance:
Concentration dependence of the conductance:
   For electrolytes, the conductivity increases with the increase in concentration, the increase , however, is sharp if the electrolyte is stong. This is due to the increase in the number of ions per unit volume of the solution. Since the equivqlent or molar conductance is expressed as the conductivity per unit concentration ( κ/C ), it appears that it should be independent of concentration. In fact, the equivalent conductance of electrolytes (weak or strong), decreases with increasing concentration; for the reason that although κ and C both increase, but κ does not increase so rapidly as C, and as a result 1000κ / C decreases with an increase in the concentration.

---
   However the value of Λ for an electrolyte, approaches a limiting value as the solution is made more and more dilute. This limiting value of the equivalent conductance is called the equivalent conductance at infinite dilution of the electrolyte and is denoted by Λ0.
   It is found that the variation of equivalent conductance with dilution depends to a great extent on the type of electrolyte, rather than on its actual nature.

---
Instument:
Instument:
- The conductance of the solution is measured using conductivity meter, conductivity cell and external power supply.
- The digital conductivity meters are available that give the conductance of the solution directly.
- The conductivity cell of different shapes and sizes are available.
- The cell consists of two electrodes made up of platinum or gold.
- The electrodes are firmly fixed in a glass frame

---
Conductivity meter:
Conductivity meter:
On/Off switch
Digital Panel
Two terminals to connect conductivity cell
Calibration switch
Range knob

---
Conductivity cell:
Conductivity cell:

---
Advantages of conductometric titrations:
Advantages of conductometric titrations:
- These titrations are more accurate because they give equivalence point instead of end point.
- The indicator is not required.
- Weak acid-weak base titrations can be carried out.
- Stepwise titrations can also be carried out.
- The composition of a mixture can be determined in many cases.

---
Observations & Calculations
Observations & Calculations
Preparation of 100 mL of 1N NaOH solution
Amount of NaOH required = 4 gm.
Preparation of 100 mL of 1N oxalic acid solution
Amount of oxalic acid required = 4.5 gm.
Preparation of 100 mL of 1N HCl solution
Amount of HCl required = 3.65 gm.
Preparation of 100 mL of 10% NH4OH solution
Amount of NH4OH required = 3.1 gm.

---
Table 1:
Titration of HCl vs NaOH:
Solution taken in burette = NaOH solution
Solution taken in conical flask = HCl
Normality of HCl = NHCl = 1N
Volume of HCl taken during the titration =VHCl = 10.0mL
Indicator used = Phenolphthalein
Colour change at end point = from colourless to pink
Sno.
Burette reading
Volume of NaOH used
(mL)
Initial reading
Final reading
1
2
3
11.6
11.6
11.6
16
16
16
27.6
27.6
27.6
Volume of NaOH solution =11.6mL
NHCl × VHCl = NNaOH × VNaOH
NHCl = NNaOH × VNaOH / VHCl
        = 1 × 11.6 / 10
NHCl = 1.16 N

---
Table 2:
Titration of Oxalic acid vs NaOH:
Solution taken in burette = NaOH solution
Solution taken in conical flask = Oxalic acid
Normality of oxalic acid = Nox = 1N
Volume of oxalic acid taken during the titration =Vox = 10.0mL
Indicator used = Phenolphthalein
Colour change at end point = from colourless to pink
Sno.
Burette reading
Volume of NaOH used
(mL)
Initial reading
Final reading
1
2
3
10.5
10.5
10.5
16
16
16
26.5
26.5
26.5
Volume of NaOH solution =10.5mL
Noxalic acid × Voxalic acid = NNaOH × VNaOH
Noxalic acid = NNaOH × VNaOH / Voxalic acid
        = 1 × 10.5 / 10
Noxalic acid = 1.05 N

---
Table 3:
Titration of HCl vs NH4OH:
Solution taken in burette = HCl solution
Solution taken in conical flask = NH4OH
Normality of HCl = NHCl = 1.16N
Volume of NH4OH taken during the titration =VNH4OH = 10.0mL
Indicator used = Methyl orange
Colour change at end point = from colourless to pink
Sno.
Burette reading
Volume of HCl used
(mL)
Initial reading
Final reading
1
2
3
22
22
22
16
16
16
38
38
38
Volume of HCl solution =22 mL
NNH4OH × VNH$OH = NHCl × VHCl
NNH4OH = NHCl × VHCl / VNH4OH
        = 1.16 × 22 / 10
NNH4OH = 2.552 N

---
        Table for calculation of degree of dissociation
S.No.
Λm
√C
Kb
κ
Conc.
α
G
126.4
  76.1
  18.8
    9.5
    4.9
    3.2
    1.7
0.1264
 0.0761
 0.0188
 0.0095
 0.0049
 0.0032
 0.0017
0.466249
0.561416
0.693471
0.700848
0.903726
1.180376
1.25415
0.217387
0.157594
0.048090
0.024559
0.016334
0.013933
0.007864
0.1264
0.0761
0.0188
0.0095
0.0049
0.0032
0.0017
1
0.5
0.1
0.05
0.02
0.01
0.005
1
0.707107
0.316228
0.223607
0.141421
0.1
0.070711
1
2
3
4
5
6
7
Units:
Conductance G is in Siemens (S)
Concentration C is in mol dm-3
Molar conductivity Λm is in S cm2 mol-1
Conductivity ratio α is unitless
Degree of dissociation Kb is in mol cm-2

---
Graph for Λm VS √C
Graph for Λm VS √C

---
Result
Result
   The Degree of dissociation (Kb) for the given base NH4OH was found out to be 2.173878× 10-1 mol cm-2.
     From the graph we see that the value of Λm first decreases sharply and then decreases with a change in the previous slope of the graph as √C increases.

---
Bibliography
Bibliography
- Physical Chemistry by Kundu and Jain
- Physical Chemistry by K.L. Kapoor Vol.1
- Physical Chemistry by K.L. Kapoor Vol.3
- A book on Chemistry by Dinesh